## Introduction
Severity grading scale - GENERAL INFORMATION |  |  | Reference PV-TB-D12 version 5.0; date, 14-Nov-2016
Introduction:
This severity grading scale has been specifically designed to evaluate adverse events reported within multi-drug resistant tuberculosis projects.
It is mainly based on the standardized and commonly used toxicity table for infectious diseases, the Division of Microbiology and Infectious Diseases
(DMID) grading system, complemented with a selection of terms from the NCI’s Common Terminology Criteria for Adverse Events (CTCAE) scale.
Severity of an Adverse Event is the evaluation of its intensity based on the scale detailing signs and symptoms and/or lab values matching with
what is generally admitted as being a mild, moderate, severe or life-threatening intensity for the condition.
There is an overlap of definitions between severity and seriousness (e.g. hospital admission is a criteria for considering an Adverse Event
serious and is also a criteria highlighting a certain level of severity according to the severity scale) BUT severity and seriousness are not
similar or synonym.
For parameters not included in the table, the following general definitions apply:
| Grade 1 - MILD | Grade 2 - MODERATE | Grade 3 - SEVERE | Grade 4 - LIFE-THREATENING
| Transient or mild discomfort (<48 hours); no medical intervention/therapy required | Mild to moderate limitation in activity - some assistance may be needed; no or minimal medical intervention/therapy required | Marked limitation in activity, some assistance usually required; medical intervention/therapy required, hospitalization possible | Extreme limitation in activity, significant assistance required; significant medical intervention/therapy required, hospitalization or hospice care probable
! In some programs or trials further guidance on severity is detailed in the protocol or Pharmacovigilance guidelines !

## Severity scale
Severity grading scale
version 5.0; date, 14-Nov-2016 Main sources: DMID Nov 2007 and CTCAE v.4.03 14-Jun-2010
For parameters not included in the table, the general definition of severity as displayed under the tabulation 'Introduction' applies.
Abbreviations: ADL, Activities of Daily Life; BMI, Body Mass Index; BSA, Body Surface Area; CrCl, Creatinine Clearance; eGFR, estimated Glomerular Filtration Rate; EKG, Electrocardiogram; FEV, Forced
Expiratory Volume; FVC, Forced Vital Capacity; iADL, instrumental ADL; IV, Intravenous; LLN, Low Limit of Normal; RBC, Red Blood Cell; TPN, Total Parenteral Nutrition; ULN, Upper Limit of Normal.
Source | Body system | Condition term | Grade 1 | Grade 2 | Grade 3 | Grade 4 | Definition
DMID | Cardiovascular Disorders | Cardiac Rhythm other than QT Interval Prolongation | N/A | Asymptomatic, transient signs, no treatment required | Recurrent/persistent; symptomatic treatment required | Unstable dysrhythmia; hospitalization and treatment required | Abnormality in cardiac rhythm other than QT Interval Prolongation.
CTCAE | Cardiovascular Disorders | Cardiac Troponin I Increased | Levels above the ULN and below the level of myocardial infarction as defined by the manufacturer | N/A | Levels consistent with myocardial infarction as defined by the manufacturer | N/A | A laboratory test result which indicates increased levels of cardiac troponin I in a biological specimen.
CTCAE | Cardiovascular Disorders | Cardiac Troponin T Increased | Levels above the ULN and below the level of myocardial infarction as defined by the manufacturer | N/A | Levels consistent with myocardial infarction as defined by the manufacturer | N/A | A laboratory test result which indicates increased levels of cardiac troponin T in a biological specimen.
CTCAE | Cardiovascular Disorders | Ejection Fraction Decreased | N/A | Resting ejection fraction: 50 - 40%; 10 - 19% drop from baseline | Resting ejection fraction: 39 - 20%; >20% drop from baseline | Resting ejection fraction: <20% | The % computed when the amount of blood ejected during a ventricular contraction of the heart is compared to the amount that was present prior to the contraction.
CTCAE | Cardiovascular Disorders | Electrocardiogram QT Corrected Interval Prolonged | Average QTcF 450 - 480 ms | Average QTcF 481 - 500 ms | Average QTcF >= 501 ms without signs/symptoms of serious arrhythmia | Average QTcF >= 501 or >60 ms change from baseline and one of the following: Torsade de pointes or polymorphic ventricular tachycardia or signs/symptoms of serious arrhythmia | A finding of a cardiac dysrhythmia characterized by an abnormally long corrected QT interval (Fridericia correction). When multiple ECGs are recorded on a same day, average of the QTcF measures should be used to determine the grade.
DMID | Cardiovascular Disorders | Hemorrhage, Blood Loss | Microscopic/occult | Mild, no transfusion | Gross blood loss; 1-2 units transfused | Massive blood loss; > 3 units transfused | Bleeding.
DMID | Cardiovascular Disorders | Hypertension | Transient increase > 20 mm/Hg; no treatment | Recurrent, chronic increase > 20 mm/Hg / treatment required | Acute treatment required; outpatient treatment or hospitalization possible | End organ damage or hospitalization required | A disorder characterized by a pathological increase in blood pressure.
DMID | Cardiovascular Disorders | Hypotension | Transient orthostatic hypotension with heart rate increased by <20 beat/min or decreased by <10 mmHg systolic BP, No treatment required | Symptoms due to orthostatic hypotension or BP decreased by <20 mmHg systolic; correctable with oral fluid treatment | Requires IV fluids; no hospitalization required | Mean arterial pressure <60 mmHg or end organ damage or shock; requires hospitalization and vasopressor treatment | A disorder characterized by a blood pressure that is below the normal expected for an individual in a given environment.
DMID | Cardiovascular Disorders | Pericarditis | Minimal effusion | Mild/moderate asymptomatic effusion, no treatment | Symptomatic effusion; pain; EKG changes | Tamponade; pericardiocentesis or surgery required | A disorder characterized by irritation to the layers of the pericardium (the protective sac around the heart).
DMID | Chemistry | Blood Urea Nitrogen Increased | 1.25 - 2.5 x ULN | 2.6 - 5 x ULN | 5.1 - 10 x ULN | > 10 x ULN | A finding based on laboratory test results that indicate increased levels of Blood Urea Nitrogen.
CTCAE | Chemistry | Cholesterol High | >ULN - 300 mg/dL [>ULN - 7.75 mmol/L] | >300 - 400 mg/dL [>7.75 - 10.34 mmol/L] | >400 - 500 mg/dL [>10.34 - 12.92 mmol/L] | >500 mg/dL [>12.92 mmol/L] | A finding based on laboratory test results that indicate higher than normal levels of cholesterol in a blood specimen.
DMID | Chemistry | Creatinine Increased | 1.1 - 1.5 x ULN | 1.6 - 3.0 x ULN | 3.1 - 6 x ULN | > 6 x ULN or dialysis required | A finding based on laboratory test results that indicate increased levels of creatinine in a biological specimen.
CTCAE | Chemistry | Hyperbilirubinemia | >ULN - 1.5 x ULN | >1.5 - 3.0 x ULN | >3.0 - 10.0 x ULN | >10.0 x ULN | A finding based on laboratory test results that indicate an abnormally high level of bilirubin in the blood.
DMID | Chemistry | Hypercalcemia (corrected for albumin) | 10.6 - 11.5 mg/dL [2.65 - 2.87 mmol/L] | 11.6 - 12.5 mg/dL [2.88 - 3.12 mmol/L] | 12.6 - 13.5 mg/dL [3.13 - 3.37 mmol/L] | > 13.5 mg/dL [> 3.37 mmol/L] or abnormal calcium with life threatening arrhythmia | A disorder characterized by laboratory test results that indicate an elevation in the concentration of calcium (corrected for albumin) in blood.
DMID | Chemistry | Hyperglycemia (nonfasting and no prior diabetes) | 116 - 160 mg/dL [6.44 - 8.89 mmol/L] | 161- 250 mg/dL [8.90 - 13.87 mmol/L] | 251 - 500 mg/dL [13.88 - 27.75 mmol/L] | > 500 mg/dL [>27.75 mmol/L] or abnormal glucose with ketoacidosis or seizures | A disorder characterized by laboratory test results that indicate an elevation in the concentration of blood sugar. It is usually an indication of diabetes mellitus or glucose intolerance.
DMID | Chemistry | Hyperkalemia | 5.6 - 6.0 mEq/L [5.6 - 6.0 mmol/L] | 6.1 - 6.5 mEq/L [6.1 - 6.5 mmol/L] | 6.6 - 7.0 mEq/L [6.6 - 7.0 mmol/L] | > 7.0 mEq/L [>7.0 mmol/L] or abnormal potassium with life-threatening arrhythmia | A disorder characterized by laboratory test results that indicate an elevation in the concentration of potassium in the blood; associated with kidney failure or sometimes with the use of diuretic drugs.
CTCAE | Chemistry | Hypermagnesemia | >ULN - 2.46 mEq/L [>ULN - 3.0 mg/dL] [>ULN - 1.23 mmol/L] | N/A | >2.46 - 6.60 mEq/L [>3.0 - 8.0 mg/dL] [>1.23 - 3.30 mmol/L] | >6.60 mEq/L [>8.0 mg/dL; >3.30 mmol/L]; life-threatening consequences | A disorder characterized by laboratory test results that indicate an elevation in the concentration of magnesium in the blood.
DMID | Chemistry | Hypernatremia | 146-150 mEq/L [146-150 mmol/L] | 151-157 mEq/L [151-157 mmol/L] | 158-165 mEq/L [158-165 mmol/L] | > 165 mEq/L [>165 mmol/L] or abnormal sodium with mental status changes or seizures | A disorder characterized by laboratory test results that indicate an elevation in the concentration of sodium in the blood.
CTCAE | Chemistry | Hypertriglyceridemia | 150 - 300 mg/dL [1.71 - 3.42 mmol/L] | >300 - 500 mg/dL [>3.42 - 5.7 mmol/L] | >500 - 1000 mg/dL [ >5.7- 11.4 mmol/L] | >1000 mg/dL [>11.4 mmol/L]; life-threatening consequences | A disorder characterized by laboratory test results that indicate an elevation in the concentration of triglyceride concentration in the blood.
DMID | Chemistry | Hyperuricemia (uric acid) | 7.5 – 10.0 mg/dL | 10.1 – 12.0 mg/dL | 12.1 – 15.0 mg/dL | >15.0 mg/dL | A disorder characterized by laboratory test results that indicate an elevation in the concentration of uric acid.
CTCAE | Chemistry | Hypoalbuminemia | <LLN - 3 g/dL [<LLN - 30 g/L] | <3 - 2 g/dL [<30 - 20 g/L] | <2 g/dL [<20 g/L] | Life-threatening consequences; urgent intervention indicated | A disorder characterized by laboratory test results that indicate a low concentration of albumin in the blood.
DMID | Chemistry | Hypocalcemia (corrected for albumin) | 8.4 - 7.8 mg/dL [2.10 - 1.95 mmol/L] | 7.7 - 7.0 mg/dL [1.94 - 1.75 mmol/L] | 6.9 - 6.1 mg/dL [1.74 - 1.52 mmol/L] | < 6.1 mg/dL [<1.52 mmol/L] or abnormal calcium with life threatening arrhythmia or tetany | A disorder characterized by laboratory test results that indicate a low concentration of calcium (corrected for albumin) in the blood.
DMID | Chemistry | Hypoglycemia | 64 - 55 mg/dL [3.55 - 3.05 mmol/L] | 54 - 40 mg/dL [3.04 - 2.22 mmol/L] | 39 - 30 mg/dL [2.21 - 1.67 mmol/L] | < 30 mg/dL [< 1.67 mmol/L] or abnormal glucose with mental status changes or coma | A disorder characterized by laboratory test results that indicate a low concentration of glucose in the blood.
DMID | Chemistry | Hypokalemia | 3.4 - 3.0 mEq/L [3.4 - 3.0 mmol/L] | 2.9 - 2.5 mEq/L [2.9 - 2.5 mmol/L] | 2.4 - 2.0 mEq/L [2.4 - 2.0 mmol/L] or intensive replacement therapy or hospitalization required | < 2.0 mEq/L [<2.0 mmol/L] or abnormal potassium with paresis, ileus or life-threatening arrhythmia | A disorder characterized by laboratory test results that indicate a low concentration of potassium in the blood.
DMID | Chemistry | Hypomagnesemia | 1.4 - 1.2 mEq/L [0.70 - 0.60 mmol/L] [1.70 - 1.46 mg/dL] | 1.1 - 0.9 mEq/L [0.59 - 0.45 mmol/L] [1.45 - 1.09 g/dL] | 0.8 - 0.6 mEq/L [0.44 - 0.30 mmol/L] [1.08 - 0.73 mg/dL] | < 0.6 mEq/L [<0.30 mmol/L; <0.73 mg/dL] or abnormal magnesium with life-threatening arrhythmia | A disorder characterized by laboratory test results that indicate a low concentration of magnesium in the blood.
DMID | Chemistry | Hyponatremia | 135 - 130 mEq/L [135 - 130 mmol/L] | 129 - 123 mEq/L [129 - 123 mmol/L] | 122 - 116 mEq/L [122 - 116 mmol/L] | < 116 mEq/L [< 116 mmol/L] or abnormal sodium with mental status changes or seizures | A disorder characterized by laboratory test results that indicate a low concentration of sodium in the blood.
DMID | Chemistry | Hypophosphatemia | 2.4 - 2.0 mg/dL | 1.9 -1.5 mg/dL or replacement Rx required | 1.4 -1.0 mg/dL intensive therapy or hospitalization required | < 1.0 mg/dL or abnormal phosphate with life-threatening arrhythmia | A disorder characterized by laboratory test results that indicate a low concentration of phosphates in the blood.
DAIDS (v.2.0 Nov 2014) | Chemistry | Lactate Increased (Lactic Acidosis) | ULN to <2.0 xULN without acidosis | ≥ 2.0 x ULN without acidosis | Increased lactate with PH <7.3 without life-threatening consequences | Increased lactate with PH <7.3 with life-threatening consequences | Increase in blood lactate accompanied or not with blood acidification.
CTCAE | Ear Disorders | Hearing Impaired | Adults Enrolled on a Monitoring Program (on a 1, 2, 4, 3, 6 and 8 kHz audiogram): threshold shift of 15 - 25 dB averaged at 2 contiguous test frequencies in at least one ear or subjective change in the absence of a Grade 1 Threshold shift. Pediatric (on a 1, 2, 4, 3, 6 and 8 kHz audiogram): threshold shift >20 dB at 8 kHz in at least one ear. | Adult enrolled in monitoring program (on a 1, 2, 3, 4, 6 and 8 kHz audiogram): threshold shift of >25 dB averaged at 2 contiguous test frequencies in at least one ear. Adult not enrolled in monitoring program: hearing loss but hearing aid or intervention not indicated; limiting instrumental ADL. Pediatric (on a 1, 2, 3, 4, 6 and 8 kHz audiogram): threshold shift >20 dB at 4 kHz and above in at least one ear. | Adult enrolled in monitoring program (on a 1, 2, 3, 4, 6 and 8 kHz audiogram): threshold shift of >25 dB averaged at 3 contiguous test frequencies in at least one ear; therapeutic intervention indicated. Adult Not enrolled in monitoring program: hearing loss with hearing aid or intervention indicated; limiting self care ADL. Pediatric (on a 1, 2, 3, 4, 6 and 8kHz audiogram): hearing loss sufficient to indicate therapeutic intervention, including hearing aids): Threshold shift >20 dB at 3 kHz and above in at least one ear ; additional speech-language related services indicated. | Adults: profound bilateral hearing loss (Threshold >80 dB HL at 2 kHz and above); nonserviceable hearing Pediatric: audiologic indication for cochlear implant and additional speech-language related services indicated. | A disorder characterized by partial or complete loss of the ability to detect or understand sounds resulting from damage to ear structures.
CTCAE | Ear Disorders | Tinnitus | Mild symptoms; intervention not indicated | Moderate symptoms; limiting instrumental ADL | Severe symptoms; limiting self care ADL | N/A | A disorder characterized by noise in the ears, such as ringing, buzzing, roaring or clicking.
CTCAE | Ear Disorders | Vestibular Disorder | N/A | Symptomatic; limiting iADL | Severe symptoms; limiting self care ADL | N/A | A disorder characterized by dizziness, imbalance, nausea, and vision problems.
CTCAE | Endocrine Disorders | Hyperthyroidism | Asymptomatic; clinical or diagnostic observations only; intervention not indicated | Symptomatic; thyroid suppression therapy indicated; limiting iADL | Severe symptoms; limiting self care ADL hospitalization indicated | Life-threatening consequences; urgent intervention indicated | A disorder characterized by excessive levels of thyroid hormone in the body. Common causes include an overactive thyroid gland or thyroid hormone overdose.
CTCAE | Endocrine Disorders | Hypothyroidism | Asymptomatic; clinical or diagnostic observations only; intervention not indicated | Symptomatic; thyroid replacement indicated; limiting iADL | Severe symptoms; limiting self care ADL hospitalization indicated | Life-threatening consequences; urgent intervention indicated | A disorder characterized by a decrease in production of thyroid hormone by the thyroid gland.
CTCAE | Enzymes | Alanine Aminotransferase (ALT or SGPT) Increased | >ULN - 3.0 x ULN | >3.0 - 5.0 x ULN | >5.0 - 20.0 x ULN | >20.0 x ULN | A finding based on laboratory test results that indicate an increase in the level of alanine aminotransferase (ALT or SGPT) in the blood specimen.
CTCAE | Enzymes | Alkaline Phosphatase Increased | >ULN - 2.5 x ULN | >2.5 - 5.0 x ULN | >5.0 - 20.0 x ULN | >20.0 x ULN | A finding based on laboratory test results that indicate an increase in the level of alkaline phosphatase in a blood specimen.
DMID | Enzymes | Amylase Increased | 1.1 - 1.5 x ULN | 1.6 - 2.0 x ULN | 2.1 - 5.0 x ULN | > 5.1 x ULN | A finding based on laboratory test results that indicate an increase in the levels of amylase in a biological specimen.
CTCAE | Enzymes | Aspartate Aminotransferase (AST or SGOT) Increased | >ULN - 3.0 x ULN | >3.0 - 5.0 x ULN | >5.0 - 20.0 x ULN | >20.0 x ULN | A finding based on laboratory test results that indicate an increase in the level of aspartate aminotransferase (AST or SGOT) in the blood specimen.
CTCAE | Enzymes | Creatine Phosphokinase Increased | >ULN - 2.5 x ULN | >2.5 x ULN - 5 x ULN | >5 x ULN - 10 x ULN | >10 x ULN | A finding based on laboratory test results that indicate an increase in levels of creatine phosphokinase in a blood specimen.
CTCAE | Enzymes | Gamma-Glutamyltransferase (GGT) Increased | >ULN - 2.5 x ULN | >2.5 - 5.0 x ULN | >5.0 - 20.0 x ULN | >20.0 x ULN | A finding based on laboratory test results that indicate higher than normal levels of the enzyme gamma-glutamyltransferase in the blood specimen. GGT (gamma-glutamyltransferase ) catalyzes the transfer of a gamma glutamyl group from a gamma glutamyl peptide to another peptide, amino acids or water.
DMID | Enzymes | Lipase Increased | 1.1 - 1.5 x ULN | 1.6 - 2.0 x ULN | 2.1 - 5.0 x ULN | > 5.1 x ULN | A finding based on laboratory test results that indicate an increase in the level of lipase in a biological specimen.
CTCAE | Enzymes | Pancreatic Enzymes Decreased | <LLN and asymptomatic | Increase in stool frequency, bulk, or odor; steatorrhea | Sequelae of absorption deficiency | N/A | A finding based on laboratory test results that indicate an decrease in levels of pancreatic enzymes in a biological specimen.
CTCAE | Eye Disorders | Cataract | Asymptomatic; clinical or diagnostic observations only; intervention not indicated | Symptomatic; moderate decrease in visual acuity (20/40 [6/12] or better) | Symptomatic with marked decrease in visual acuity (worse than 20/40 [6/12] but better than 20/200 [6/60]); operative intervention indicated (e.g. cataract surgery) | Blindness (20/200 [6/60] or worse) in the affected eye | A disorder characterized by partial or complete opacity of the crystalline lens of one or both eyes. This results in a decrease in visual acuity and eventual blindness if untreated.
CTCAE | Eye Disorders | Eye disorders, Others | Asymptomatic or mild symptoms; clinical or diagnostic observations only; intervention not indicated | Moderate; minimal, local or noninvasive intervention indicated; limiting age-appropriate instrumental ADL | Severe or medically significant but not immediately sight-threatening; hospitalization or prolongation of existing hospitalization indicated; disabling; limiting self care ADL | Sight-threatening consequences; urgent intervention indicated; blindness (20/200 [6/60] or worse) in the affected eye | Any disorder affecting the eyes that is not cataract, retinopathy or optic nerve disorder.
CTCAE | Eye Disorders | Optic Nerve Disorder | Asymptomatic; clinical or diagnostic observations only | Limiting vision of the affected eye (20/40 [6/12] or better) | Limiting vision in the affected eye (worse than 20/40 [6/12] but better than 20/200 [6/60]) | Blindness (20/200 [6/60] or worse) in the affected eye | A disorder characterized by involvement of the optic nerve (second cranial nerve).
CTCAE | Eye Disorders | Retinopathy | Asymptomatic; clinical or diagnostic observations only | Symptomatic with moderate decrease in visual acuity (20/40 [6/12] or better); limiting iADL | Symptomatic with marked decrease in visual acuity (worse than 20/40 [6/12]); disabling; limiting self care ADL | Blindness (20/200 [6/60] or worse) in the affected eye | A disorder involving the retina.
DMID | Gastrointestinal Disorders | Constipation | Requiring stool softener or dietary modification | Requiring laxatives | Obstipation requiring manual evacuation or enema | Obstruction or toxic megacolon | A disorder characterized by irregular and infrequent or difficult evacuation of the bowels.
DMID | Gastrointestinal Disorders | Diarrhea | Mild or transient; 3-4 loose stools/day or mild diarrhea last < 1 week | Moderate or persistent; 5-7 loose stools/day or diarrhea lasting >1 week | >7 loose stools/day or bloody diarrhea; or orthostatic hypotension or electrolyte imbalance or >2L IV fluids required | Hypotensive shock or physiologic consequences requiring hospitalization | A disorder characterized by frequent and watery bowel movements.
CTCAE | Gastrointestinal Disorders | Dyspepsia | Mild symptoms; intervention not indicated | Moderate symptoms; medical intervention indicated | Severe symptoms; surgical intervention indicated | N/A | A disorder characterized by an uncomfortable, often painful feeling in the stomach, resulting from impaired digestion. Symptoms include burning stomach, bloating, heartburn, nausea and vomiting.
DMID | Gastrointestinal Disorders | Nausea | Mild or transient; maintains reasonable intake | Moderate discomfort; intake decreased significantly; some activity limited | No significant intake; requires IV fluids | Hospitalization required | A disorder characterized by a queasy sensation and/or the urge to vomit.
DMID | Gastrointestinal Disorders | Oral Discomfort/Dysphagia | Mild discomfort; no difficulty swallowing | Some limits on eating/drinking | Eating/talking very limited; unable to swallow solid foods | Unable to drink fluids; requires IV fluids | A disorder characterized by difficulty in swallowing.
CTCAE | Gastrointestinal Disorders | Pancreatitis | N/A | Enzyme elevation or radiologic findings only | Severe pain; vomiting; medical intervention indicated (e.g. analgesia, nutritional support) | Life-threatening consequences; urgent intervention indicated | A disorder characterized by inflammation of the pancreas.
DMID | Gastrointestinal Disorders | Vomiting | 1 episode in 24 hours | 2-5 episodes in 24 hours | >6 episodes in 24 hours or needing IV fluids | Physiologic consequences requiring hospitalization or requiring parenteral nutrition | A disorder characterized by the reflexive act of ejecting the contents of the stomach through the mouth.
DMID | General Disorders | Fatigue | Normal activity reduced < 48 hours | Normal activity decreased 25- 50% > 48 hours | Normal activity decreased > 50% can’t work | Unable to care for self | A disorder characterized by a state of generalized weakness with a pronounced inability to summon sufficient energy to accomplish daily activities.
DMID | General Disorders | Fever (oral) | 37.7 - 38.5 C or 100.0 - 101.5 F | 38.6 - 39.5 C or 101.6 - 102.9 F | 39.6 - 40.5 C or 103 - 105 F | > 40.6 C or > 105.1 F | A disorder characterized by elevation of the body's temperature above the upper limit of normal.
DMID | General Disorders | Headache | Mild, no treatment required | Transient, moderate; treatment required | Severe; responds to initial narcotic therapy | Intractable; requires repeated narcotic therapy | A disorder characterized by a sensation of marked discomfort in various parts of the head, not confined to the area of distribution of any nerve.
CTCAE | General Disorders | Malaise | Uneasiness or lack of well being | Uneasiness or lack of well being; limiting iADL | N/A | N/A | A disorder characterized by a feeling of general discomfort or uneasiness, an out-of-sorts feeling.
CTCAE | General Disorders | Pain | Mild pain | Moderate pain; limiting iADL | Severe pain; limiting self care ADL | N/A | A disorder characterized by the sensation of marked discomfort, distress or agony.
DMID | Hematology | % Polymorphonuclear Leucocytes + Band Cells Increased | > 80% | 90 – 95% | >95% | N/A | A finding based on laboratory test results that indicate an increase in % polymorphonuclear leucocytes and band cells in a blood specimen.
DMID | Hematology | Absolute Neutrophil Count Low | 1500 - 1000/mm3 [1.5 - 1.0 x10^9/L] [1.5 - 1.0 x10^3/μL] | 999 - 750/mm3 [0.99 - 0.75 x10^9/L] [0.99 - 0.75 x10^3/μL] | 749 - 500/mm3 [0.74 - 0.50 x10^9/L] [0.74 - 0.50 x10^3/μL] | <500/mm3 [<0.50 x10^9/L] [<0.50 x10^3/μL] | A finding based on laboratory test results that indicate a decrease in number of neutrophils in a blood specimen.
DMID | Hematology | Activated Partial Thromboplastin Time (APPT) Prolonged | 1.01 -1.66 x ULN | 1.67 - 2.33 x ULN | 2.34 - 3 x ULN | > 3 x ULN | An abnormal laboratory test result in which the partial thromboplastin time is found to be greater than the control value. As a possible indicator of coagulopathy, a prolonged partial thromboplastin time (PTT) may occur in a variety of diseases and disorders, both primary and related to treatment.
DMID | Hematology | Anaemia | 10.5 - 9.5 g/dL [105 - 95 g/L] | 9.4 - 8.0 g/dL [94 - 80 g/L] | 7.9 - 6.5 g/dL [79 - 65 g/L] | < 6.5 g/dL [< 65 g/L] | A disorder characterized by an reduction in the amount of hemoglobin in 100 ml of blood. Signs and symptoms of anemia may include pallor of the skin and mucous membranes, shortness of breath, palpitations of the heart, soft systolic murmurs, lethargy, and fatigability.
CTCAE | Hematology | CD4 Lymphocytes Decreased | <LLN - 500 cells/μL | <500 - 200 cells/μL | <200 - 50 cells/μL | <50 cells/μL | A finding based on laboratory test results that indicate an decrease in levels of CD4 lymphocytes in a blood specimen.
CTCAE | Hematology | Febrile Neutropenia | N/A | N/A | Absolute neutrophil count <1000/mm3 [<1.0 x10^9/; <1.0 x10^3/μL] with a single temperature of >38.3 degrees C (101 degrees F) or a sustained temperature of >=38 degrees C (100.4 degrees F) for more than 1hr | Life-threatening consequences; urgent intervention indicated | A disorder characterized by an absolute neutrophil count <1000/mm3 and a single temperature of >38.3 degrees C (101 degrees F) or a sustained temperature of >=38 degrees C (100.4 degrees F) for more than one hour.
DMID | Hematology | Fibrin Split Product | 20-40 mcg/ml | 41-50 mcg/ml | 51-60 mcg/ml | > 60 mcg/ml | Presence of fibrin degradation products.
CTCAE | Hematology | Haptoglobin Decreased | <LLN | N/A | N/A | N/A | A finding based on laboratory test results that indicate an decrease in levels of haptoglobin in a blood specimen.
CTCAE | Hematology | Hemoglobin Increased | Increase in >0 - 2 g/dL [>0 - 20 g/L] above ULN or above baseline if baseline is above ULN | Increase in >2 - 4 g/dL [>20 - 40 g/L] above ULN or above baseline if baseline is above ULN | Increase in >4 g/dL [>40 g/L] above ULN or above baseline if baseline is above ULN | N/A | A finding based on laboratory test results that indicate increased levels of hemoglobin in a biological specimen.
CTCAE | Hematology | Hemolysis | Laboratory evidence of hemolysis only (e.g. direct antiglobulin test; DAT; Coombs'; schistocytes; decreased haptoglobin) | Evidence of hemolysis and >=2 g decrease in hemoglobin | Transfusion or medical intervention indicated (e.g. steroids) | Life-threatening consequences; urgent intervention indicated | A disorder characterized by laboratory test results that indicate widespread erythrocyte cell membrane destruction.
DMID | Hematology | High Fibrinogen | High: 400-600 mg/dL | High: >600 mg/dL | N/A | Fibrinogen associated with disseminated coagulation | A finding based on laboratory test results that indicate an increase in levels of fibrinogen in a blood specimen.
CTCAE | Hematology | International Normalized Ratio Increased | >1 - 1.5 x ULN; >1 - 1.5 times above baseline if on anticoagulation | >1.5 - 2.5 x ULN; >1.5 - 2.5 times above baseline if on anticoagulation | >2.5 x ULN; >2.5 times above baseline if on anticoagulation | N/A | A finding based on laboratory test results that indicate an increase in the ratio of the patient's prothrombin time to a control sample in the blood.
CTCAE | Hematology | Leukocytosis | N/A | N/A | >100,000/mm3 [>100 x10^9/L] [>100 x10^3/μL] | Clinical manifestations of leukostasis; urgent intervention indicated | A disorder characterized by laboratory test results that indicate an increased number of white blood cells in the blood.
DMID | Hematology | Low Fibrinogen | Low: 200 - 100 mg/dL | Low: <100 mg/dL | < 50 mg/dL | Fibrinogen associated with gross bleeding | A finding based on laboratory test results that indicate an decrease in levels of fibrinogen in a blood specimen.
CTCAE | Hematology | Lymphocyte Count Decreased | <LLN - 800/mm3 [<LLN - 0.8 x 10^9/L] [<LLN - 0.8 x10^3/μL] | <800 - 500/mm3 [<0.8 - 0.5 x10^9/L] [0.8 - 0.5 x10^3/μL] | <500 - 200/mm3 [<0.5 - 0.2 x10^9/L] [<0.5 - 0.2 x10^3/μL] | <200/mm3 [<0.2 x 10^9/L] [<0.2 x10^3/μL] | A finding based on laboratory test results that indicate a decrease in number of lymphocytes in a blood specimen.
CTCAE | Hematology | Lymphocyte Count Increased | N/A | >4,000 - 20,000/mm3 [>4 - 20 x 10^9/L] [>4 - 20 x10^3/μL] | >20,000/mm3 [>20 x10^9/L] [>20 x10^3/μL] | N/A | A finding based on laboratory test results that indicate an abnormal increase in the number of lymphocytes in the blood, effusions or bone marrow.
DMID | Hematology | Methemoglobin | 5.0 - 9.9 % | 10.0 - 14.9 % | 15.0 - 19.9% | > 20.0 % | Methemoglobin saturation as measured in blood.
DMID | Hematology | Platelets Decreased | 99,999-75,000/mm3 [99.9-75.0 x10^9/L] [99.9-75.0 x10^3/μL] | 74,999-50,000/mm3 [74.9-50.0 x10^9/L] [74.9-50.0 x10^3/μL] | 49,999-20,000/mm3 [49.9-20.0 x10^9/L] [49.9-20.0 x10^3/μL] | <20,000/mm3 [<20.0 x10^9/L] [<20.0 x10^3/μL] | A finding based on laboratory test results that indicate a decrease in number of platelets in a blood specimen.
DMID | Hematology | Prothrombin Time (PT) Prolonged | 1.01 - 1.25 x ULN | 1.26-1.5 x ULN | 1.51 -3.0 x ULN | >3 x ULN | An abnormal laboratory test result in which the prothrombin time is found to be greater than the control value.
DMID | Hematology | White Blood Cell Decreased | <LLN - 3000/mm3 [<LLN - 3 x10^9/L] [<LLN - 3 x10^3/μL] | <3000 - 2000/mm3 [3 - 2 x10^9/L] [3 - 2 x10^3/μL] | <2000 - 1000/mm3 [<2 - 1 x10^9/L] [<2 - 1 x10^3/μL] | <1000/mm3 [<1 x10^9/L] [<1 x10^3/μL] | A finding based on laboratory test results that indicate an decrease in number of white blood cells in a blood specimen.
CTCAE | Hepatobiliary Disorders | Hepatic Failure | N/A | N/A | Asterixis; mild encephalopathy; limiting self care ADL | Moderate to severe encephalopathy; coma; life-threatening consequences | A disorder characterized by the inability of the liver to metabolize chemicals in the body. Laboratory test results reveal abnormal plasma levels of ammonia, bilirubin, lactic dehydrogenase, and alkaline phosphatase.
DMID | Immune Disorders | Allergic Reaction | Pruritus without rash | Localized urticaria | Generalized urticaria; angioedema | Anaphylaxis | A disorder characterized by an adverse local or general response from exposure to an allergen. Worst stage 'anaphylaxis' is characterized by an acute inflammatory reaction resulting from the release of histamine and histamine-like substances from mast cells, causing a hypersensitivity immune response. Clinically, it presents with breathing difficulty, dizziness, hypotension, cyanosis and loss of consciousness and may lead to death.
CTCAE | Immune Disorders | Autoimmune Disorder | Asymptomatic; serologic or other evidence of autoimmune reaction, with normal organ function; intervention not indicated | Evidence of autoimmune reaction involving a non-essential organ or function (e.g. hypothyroidism) | Autoimmune reactions involving major organ (e.g. colitis, anemia, myocarditis, kidney) | Life-threatening consequences; urgent intervention indicated | A disorder resulting from loss of function or tissue destruction of an organ or multiple organs, arising from humoral or cellular immune responses of the individual to his own tissue constituents.
CTCAE | Infections | Infections | Localized or asymptomatic; local intervention indicated | Symptomatic; medical intervention indicated (e.g. local or oral antibiotics) | Systemic intervention or hospitalization/surgery indicated | Life-threatening consequences or permanent disability; urgent intervention indicated | A disorder characterized by an infectious process.
CTCAE | Investigations | Carbon Monoxide Diffusing Capacity Decreased | 3 - 5 units below LLN; for follow-up, a decrease of 3 - 5 units (ml/min/mm Hg) below the baseline value | 6 - 8 units below LLN; for follow-up, an asymptomatic decrease of >5 - 8 units (ml/min/mm Hg) below the baseline value | Asymptomatic decrease of >8 units drop; >5 units drop along with the presence of pulmonary symptoms (e.g. , >Grade 2 hypoxia or >Grade 2 or higher dyspnea) | N/A | A finding based on lung function test results that indicate a decrease in the lung capacity to absorb carbon monoxide.
CTCAE | Investigations | Forced Expiratory Volume Decreased | FEV1% (percentages of observed FEV1 and FVC related to their respective predicted values) 99 - 70% predicted | FEV1 60 - 69% | 50 - 59% | <= 49% | A finding based on test results that indicate a relative decrease in the fraction of the forced vital capacity that is exhaled in a specific number of seconds.
CTCAE | Investigations | Vital Capacity Abnormal | 90 - 75% of predicted value | <75 - 50% of predicted value; limiting iADL | <50% of predicted value; limiting self care ADL | N/A | A finding based on pulmonary function test results that indicate an abnormal vital capacity (amount of exhaled after a maximum inhalation) when compared to the predicted value.
CTCAE | Investigations | Weight Gain | 5 - <10% from baseline | 10 - <20% from baseline | >=20% from baseline | N/A | A finding characterized by an increase in overall body weight; for pediatrics, greater than the baseline growth curve.
CTCAE | Investigations | Weight Loss | 5 to <10% from baseline; intervention not indicated | 10 - <20% from baseline; nutritional support indicated | >=20% from baseline; tube feeding or TPN indicated | N/A | A finding characterized by a decrease in overall body weight; for pediatrics, less than the baseline growth curve.
CTCAE | Metabolism and nutrition disorders | Dehydration | Increased oral fluids indicated; dry mucous membranes; diminished skin turgor | IV fluids indicated <24 hrs | IV fluids or hospitalization indicated | Life-threatening consequences; urgent intervention indicated | A disorder characterized by excessive loss of water from the body. It is usually caused by severe diarrhea, vomiting or diaphoresis.
CTCAE | Metabolism and nutrition disorders | Obesity | N/A | BMI 25 - 29.9 kg/m2 | BMI 30 - 39.9 kg/m2 | BMI >=40 kg/m2 | A disorder characterized by having a high amount of body fat.
DMID | Muskuloskeletal Disorders | Arthralgia (joint pain) | Mild pain not interfering with function | Moderate pain, analgesics and/or pain interfering with function but not with ADL | Severe pain; pain and/or analgesics interfering with ADL | Disabling pain | A disorder characterized by a sensation of marked discomfort in a joint.
DMID | Muskuloskeletal Disorders | Arthritis | Mild pain with inflammation, erythema or joint swelling, but not interfering with function | Moderate pain with inflammation, erythema or joint swelling; interfering with function, but not with ADL | Severe pain with inflammation, erythema or joint swelling and interfering with ADL | Permanent and/or disabling joint destruction | A disorder characterized by inflammation involving a joint.
DMID | Muskuloskeletal Disorders | Myalgia | Myalgia with no limitation of activity | Muscle tenderness (at other than injection site) or with moderate impairment of activity | Severe muscle tenderness with marked impairment of activity | Frank myonecrosis | A disorder characterized by marked discomfort sensation originating from a muscle or group of muscles.
AAOS (American Association of Orthopaedic Surgeons) | Muskuloskeletal Disorders | Tendinopathy | Stretched tendon fibers (no tear). Tenderness and swelling. Joint stable. | Partial tendon tear. Moderate tenderness and swelling. Joint unstable or gives away during activity, decreased range of motion. | Complete tendon tear/rupture, Significant tenderness and swelling. Joint unstable. No joint movement on muscle contraction. Surgery required. | Life-threatening complication from surgery. | Tendon injuries from mild inflammation, partial tear to rupture.
CTCAE | Neurological Disorders | Depressed Level of Consciousness | Decreased level of alertness | Sedation; slow response to stimuli; limiting iADL | Difficult to arouse | Life-threatening consequences | A disorder characterized by a decrease in ability to perceive and respond.
CTCAE | Neurological Disorders | Dysgeusia | Altered taste but no change in diet | Altered taste with change in diet (e.g. oral supplements); noxious or unpleasant taste; loss of taste | N/A | N/A | A disorder characterized by abnormal sensual experience with the taste of foodstuffs; it can be related to a decrease in the sense of smell.
DMID | Neurological Disorders | Muscle Strength Disorders | Subjective weakness, no objective symptoms/signs | Mild objective signs/symptoms, no decrease in function | Objective weakness, function limited | Paralysis | A disorder characterized by a reduction in the strength of muscles in one or multiple anatomic sites.
DMID | Neurological Disorders | Neuro-Cerebellar Disorders | Slight incoordination dysdiadochokinesis | Intention tremor, dysmetria, slurred speech; nystagmus | Locomotor ataxia | Incapacitated | General scale for neuro-cerebellar disorders.
DMID | Neurological Disorders | Neuro-Sensory Disorders | Mild impairment in sensation (decreased sensation, e.g. vibratory, pinprick, hot/cold in great toes) in focal area or symmetrical distribution; or change in taste, smell, vision and/or hearing; and/or vibration perception score 1 (mild loss). | Moderate impairment (mod decreased sensation, e.g. vibratory, pinprick, hot/cold to ankles) and/or joint position; and/or vibration perception score 2 (moderate loss). | Severe impairment (decreased or loss of sensation to knees or wrists); and/or vibration perception score 3 (severe loss) and/or deep tendon reflex score 1. | Sensory loss involves limbs and trunk; paralysis; or seizures; and/or deep tendon reflex score 0. | General scale for neuro-sensory disorders.
DMID | Neurological Disorders | Paresthesia (Burning, Tingling, etc.) | Mild discomfort; no treatment required; | Moderate discomfort; non-narcotic analgesia required; and/or BPNS subjective sensory neuropathy score 4-6 on any side. | Severe discomfort; or narcotic analgesia required with symptomatic improvement; and/or BPNS subjective sensory neuropathy score 7-10 on any side. | Incapacitating; or not responsive to narcotic analgesia. | A disorder characterized by functional disturbances of sensory neurons resulting in abnormal cutaneous sensations of tingling, numbness, pressure, cold, and warmth that are experienced in the absence of a stimulus.
CTCAE | Neurological Disorders | Seizure | Brief partial seizure; no loss of consciousness | Brief generalized seizure | Multiple seizures despite medical intervention | Life-threatening; prolonged repetitive seizures | A disorder characterized by sudden, involuntary skeletal muscular contractions of cerebral or brain stem origin.
CTCAE | Neurological Disorders | Syncope | N/A | N/A | Fainting; orthostatic collapse | N/A | A disorder characterized by spontaneous loss of consciousness caused by insufficient blood supply to the brain.
CTCAE | Pregnancy, puerperium and perinatal conditions | Fetal Growth Retardation | N/A | <10% percentile of weight for gestational age | <5% percentile of weight for gestational age | <1% percentile of weight for gestational age | A disorder characterized by inhibition of fetal growth resulting in the inability of the fetus to achieve its potential weight.
CTCAE | Pregnancy, puerperium and perinatal conditions | Premature Delivery | Delivery of a liveborn infant at >34 to 37 weeks gestation | Delivery of a liveborn infant at >28 to 34 weeks gestation | Delivery of a liveborn infant at 24 to 28 weeks gestation | Delivery of a liveborn infant at 24 weeks of gestation or less | A disorder characterized by delivery of a viable infant before the normal end of gestation. Typically, viability is achievable between the twentieth and thirty-seventh week of gestation.
CTCAE | Psychiatric disorders | Anxiety | Mild symptoms; intervention not indicated; and/or Hamilton Anxiety Rating Scale score 1-17. | Moderate symptoms; limiting instrumental ADL; and/or Hamilton Anxiety Rating Scale score 18-24. | Severe symptoms; limiting self care ADL; hospitalization not indicated; and/or Hamilton Anxiety Rating Scale score 25-30. | Life-threatening; Hamilton Anxiety Rating Scale score >30; and/or hospitalization indicated. | A disorder characterized by apprehension of danger and dread accompanied by restlessness, tension, tachycardia, and dyspnea unattached to a clearly identifiable stimulus.
CTCAE | Psychiatric disorders | Depression | Mild depressive symptoms; and/or PHQ9 depression score 1-9. | Moderate depressive symptoms; limiting instrumental ADL; and/or PHQ9 depression score 10-14. | Severe depressive symptoms; limiting self care ADL; hospitalization not indicated; and/or PHQ9 depression score 15-19. | Life-threatening consequences, threats of harm to self or others; PHQ9 depression score 20-27; and/or hospitalization indicated | A disorder characterized by melancholic feelings of grief or unhappiness.
CTCAE | Psychiatric disorders | Psychosis | Mild psychotic symptoms | Moderate psychotic symptoms (e.g., disorganized speech; impaired reality testing) | Severe psychotic symptoms (e.g., paranoid; extreme disorganization); hospitalization not indicated | Life-threatening consequences, threats of harm to self or others; hospitalization indicated | A disorder characterized by personality change, impaired functioning, and loss of touch with reality. It may be a manifestation of schizophrenia, bipolar disorder or brain tumor.
CTCAE | Psychiatric disorders | Suicidal ideation | Increased thoughts of death but no wish to kill oneself | Suicidal ideation with no specific plan or intent | Specific plan to commit suicide without serious intent to die which may not require hospitalization | Specific plan to commit suicide with serious intent to die which requires hospitalization | A disorder characterized by thoughts of taking one's own life.
CTCAE | Psychiatric disorders | Suicide attempt | N/A | N/A | Suicide attempt or gesture without intent to die which may not require hospitalization | Suicide attempt with intent to die which requires hospitalization | A disorder characterized by self-inflicted harm in an attempt to end one's own life.
CTCAE | Renal and urinary disorders | Acute Kidney Injury | Creatinine level increase of >0.3 mg/dL [26.5 μmol/L]; creatinine 1.5 - 2.0 x above baseline | Creatinine 2 - 3 x above baseline | Creatinine >3 x baseline or >4.0 mg/dL [> 353.7 μmol/L]; hospitalization indicated | Life-threatening consequences; dialysis indicated | A disorder characterized by the acute loss of renal function and is traditionally classified as pre-renal (low blood flow into kidney), renal (kidney damage) and post-renal causes (ureteral or bladder outflow obstruction).
CTCAE | Renal and urinary disorders | Chronic Kidney Disease | eGFR (estimated Glomerular Filtration Rate) or CrCl (creatinine clearance) <LLN - 60 ml/min/1.73 m2 or proteinuria 2+ present; urine protein/creatinine >0.5 | eGFR or CrCl 59 - 30 ml/min/1.73 m2 | eGFR or CrCl 29 - 15 ml/min/1.73 m2 | eGFR or CrCl <15 ml/min/1.73 m2; dialysis or renal transplant indicated | A disorder characterized by gradual and usually permanent loss of kidney function resulting in renal failure.
CTCAE | Reproductive system and breast disorders | Azoospermia | N/A | N/A | Absence of sperm in ejaculate | N/A | A disorder characterized by laboratory test results that indicate complete absence of spermatozoa in the semen.
CTCAE | Reproductive system and breast disorders | Gynecomastia | Asymptomatic breast enlargement | Symptomatic (e.g. pain or psychosocial impact) | Severe symptoms; elective operative intervention indicated | N/A | A disorder characterized by excessive development of the breasts in males.
CTCAE | Reproductive system and breast disorders | Irregular Menstruation | Intermittent menses with skipped menses for no more than 1 to 3 months | Intermittent menses with skipped menses for more than 4 to 6 months | Persistent amenorrhea for more than 6 months | N/A | A disorder characterized by irregular cycle or duration of menses.
CTCAE | Reproductive system and breast disorders | Menorrhagia | Mild; iron supplements indicated | Moderate symptoms; medical intervention indicated (e.g. hormones) | Severe; transfusion indicated; surgical intervention indicated (e.g. hysterectomy) | Life-threatening consequences; urgent intervention indicated | A disorder characterized by abnormally heavy vaginal bleeding during menses.
CTCAE | Reproductive system and breast disorders | Oligospermia | Sperm concentration >48 million/mL or motility >68% | Sperm concentration 13 - 48 million/mL or motility 32 - 68% | Sperm concentration <13 million/mL or motility <32% | N/A | A disorder characterized by a decrease in the number of spermatozoa in the semen.
DMID | Respiratory Disorders | Bronchospasm, Acute | Transient; no treatment; 70% - 80% FEV1 of peak flow | Requires treatment; normalizes with bronchodilator; FEV1 50% - 70% (of peak flow) | No normalization with bronchodilator; FEV1 25% - 50% of peak flow; or retractions present | Cyanosis: FEV1 < 25% of peak flow or intubation necessary | A disorder characterized by a sudden contraction of the smooth muscles of the bronchial wall.
DMID | Respiratory Disorders | Cough | Transient- no treatment | Persistent cough; treatment responsive | Paroxysmal cough; uncontrolled with treatment | N/A | A disorder characterized by sudden, often repetitive, spasmodic contraction of the thoracic cavity, resulting in violent release of air from the lungs and usually accompanied by a distinctive sound.
DMID | Respiratory Disorders | Dyspnea | Dyspnea on exertion | Dyspnea with normal activity | Dyspnea at rest | Dyspnea requiring Oxygen therapy | A disorder characterized by an uncomfortable sensation of difficulty breathing.
DMID | Skin Disorders | Edema | < 15mm | 15-30 mm | >30mm | N/A | A disorder characterized by swelling due to excessive fluid accumulation.
DMID | Skin Disorders | Erythema | < 15mm | 15-30 mm | >30mm | N/A | A disorder characterized by an area of redness of the skin.
DMID | Skin Disorders | Induration | < 15mm | 15-30 mm | >30mm | N/A | A disorder characterized by an area of hardness in the skin.
CTCAE | Skin Disorders | Injection Site Reaction | Tenderness with or without associated symptoms (e.g. warmth, erythema, itching) | Pain; lipodystrophy; edema; phlebitis | Ulceration or necrosis; severe tissue damage; operative intervention indicated | Life-threatening consequences; urgent intervention indicated | A disorder characterized by an intense adverse reaction (usually immunologic) developing at the site of an injection.
DMID | Skin Disorders | Mucocutaneous Symptoms | Erythema; pruritus | Diffuse, maculo papular rash, dry desquamation | Vesiculation or moist desquamation or ulceration | Exfoliative dermatitis, mucous membrane involvement or erythema, multiforme or suspected Stevens-Johnson or necrosis requiring surgery | General scale for skin disorders from signs and symptoms (e.g. itching) to life-threatening skin conditions (e.g. Steven Johnson syndrome).
DMID | Skin Disorders | Pruritus | Slight itching at injection site | Moderate itching at injection extremity | Itching over entire body | N/A | A disorder characterized by an intense itching sensation.
DMID | Skin Disorders | Rash At Injection Site | < 15mm | 15-30 mm | >30mm | N/A | Skin eruption at the site of drug injection.
CTCAE | Skin Disorders | Skin Hypo- or Hyper- Pigmentation | Hypo- / Hyper- pigmentation or depigmentation covering <10% BSA; no psychosocial impact | Hypo- / Hyper- pigmentation or depigmentation covering >10% BSA; associated psychosocial impact | N/A | N/A | A disorder characterized by darkening of the skin due to excessive melanin deposition (hyper-) or loss of skin pigment (hypo-).
DMID | Urinalysis | Hematuria | Microscopic only <10 rbc/hpf | Gross, no clots >10 rbc/hpf | Gross, with or without clots, OR red blood cell casts | Obstructive or required transfusion | A disorder characterized by laboratory test results that indicate blood in the urine.
DMID | Urinalysis | Proteinuria | 1+ or 200 mg - 1 g loss/day | 2-3+ or 1- 2 g loss/day | 4+ or 2-3.5 g loss/day | Nephrotic syndrome or > 3.5 g loss/day | A disorder characterized by laboratory test results that indicate the presence of excessive protein in the urine. It is predominantly albumin, but also globulin.

## Index
Severity grading scale - INDEX | version 5.0; date, 14-Nov-2016
Body system | Condition term
Cardiovascular Disorders | Cardiac Rhythm other than QT Interval Prolongation
Cardiac Troponin I Increased
Cardiac Troponin T Increased
Ejection Fraction Decreased
Electrocardiogram QT Corrected Interval Prolonged
Hemorrhage, Blood Loss
Hypertension
Hypotension
Pericarditis
Chemistry | Blood Urea Nitrogen Increased
Cholesterol High
Creatinine Increased
Hyperbilirubinemia
Hypercalcemia (corrected for albumin)
Hyperglycemia (nonfasting and no prior diabetes)
Hyperkalemia
Hypermagnesemia
Hypernatremia
Hypertriglyceridemia
Hyperuricemia (uric acid)
Hypoalbuminemia
Hypocalcemia (corrected for albumin)
Hypoglycemia
Hypokalemia
Hypomagnesemia
Hyponatremia
Hypophosphatemia
Lactate Increased (Lactic Acidosis)
Ear Disorders | Hearing Impaired
Tinnitus
Vestibular Disorder
Endocrine Disorders | Hyperthyroidism
Hypothyroidism
Enzymes | Alanine Aminotransferase (ALT or SGPT) Increased
Alkaline Phosphatase Increased
Amylase Increased
Aspartate Aminotransferase (AST or SGOT) Increased
Creatine Phosphokinase Increased
Gamma-Glutamyltransferase (GGT) Increased
Lipase Increased
Pancreatic Enzymes Decreased
Eye Disorders | Cataract
Eye disorders, Others
Optic Nerve Disorder
Retinopathy
Gastrointestinal Disorders | Constipation
Diarrhea
Dyspepsia
Nausea
Oral Discomfort/Dysphagia
Pancreatitis
Vomiting
General Disorders | Fatigue
Fever (oral)
Headache
Malaise
Pain
Hematology | % Polymorphonuclear Leucocytes + Band Cells Increased
Absolute Neutrophil Count Low
Activated Partial Thromboplastin Time (APPT) Prolonged
Anaemia
CD4 Lymphocytes Decreased
Febrile Neutropenia
Fibrin Split Product
Haptoglobin Decreased
Hemoglobin Increased
Hemolysis
High Fibrinogen
International Normalized Ratio Increased
Leukocytosis
Low Fibrinogen
Lymphocyte Count Decreased
Lymphocyte Count Increased
Methemoglobin
Platelets Decreased
Prothrombin Time (PT) Prolonged
White Blood Cell Decreased
Hepatobiliary Disorders | Hepatic Failure
Immune Disorders | Allergic Reaction
Autoimmune Disorder
Infections | Infections
Investigations | Carbon Monoxide Diffusing Capacity Decreased
Forced Expiratory Volume Decreased
Vital Capacity Abnormal
Weight Gain
Weight Loss
Metabolism and nutrition disorders | Dehydration
Obesity
Muskuloskeletal Disorders | Arthralgia (joint pain)
Arthritis
Myalgia
Tendinopathy
Neurological Disorders | Depressed Level of Consciousness
Dysgeusia
Muscle Strength Disorders
Neuro-Cerebellar Disorders
Neuro-Sensory Disorders
Paresthesia (Burning, Tingling, etc.)
Seizure
Syncope
Pregnancy, puerperium and perinatal conditions | Fetal Growth Retardation
Premature Delivery
Psychiatric disorders | Anxiety
Depression
Psychosis
Suicidal ideation
Suicide attempt
Renal and urinary disorders | Acute Kidney Injury
Chronic Kidney Disease
Reproductive system and breast disorders | Azoospermia
Gynecomastia
Irregular Menstruation
Menorrhagia
Oligospermia
Respiratory Disorders | Bronchospasm, Acute
Cough
Dyspnea
Skin Disorders | Edema
Erythema
Induration
Injection Site Reaction
Mucocutaneous Symptoms
Pruritus
Rash At Injection Site
Skin Hypo- or Hyper- Pigmentation
Urinalysis | Hematuria
Proteinuria